## HowTo
Energy Audit Tracker
1) On Config, set currency (free text), units (free text), divisors, tariffs, CO2 price, and lists.
2) Use Converters (optional) if your data is in BTU/therm/HP/etc., then paste kWh or kW into Opportunities.
3) In Opportunities: enter ΔkWh/yr OR ΔkW + Hours/yr (optionally a load factor), plus Capex and Opex change.
4) The model calculates energy & demand savings, CO2 € value, total €/$, payback, and priority.
5) Summary shows totals, savings by category, Top‑10, and CO2 value. Note: if you later change the currency symbol, reapply number format on €/$ columns (Ctrl+1).

## Config
Regional settings |  |  | Converters (optional, editable)
Currency symbol | € | (€, $, £, ₹, ¥, R$ …) | MMBtu → kWh | 293.071
Display power unit | kW | (kW, MW, HP …) | therm → kWh | 29.3071
Display energy unit | kWh | (kWh, MWh, MMBtu, kBtu, therm …) | kBtu → kWh | 0.29307
Energy unit divisor | 1 | (kWh → display) e.g., 1 for kWh, 1000 for MWh | CCF nat gas → kWh (local) | 30
Display CO2 unit | t CO2e | (kg CO2e, t CO2e …) | m³ nat gas → kWh (local) | 11
CO2 unit divisor | 1000 | (kg → display) e.g., 1 for kg, 1000 for t | HP → kW | 0.746
CO2 price | 50 | (per t CO2e)
Tariffs & factors |  |  | Dropdown lists (edit freely)
Tariff (per kWh) | 0.15 |  | Categories | Statuses | Owners
Demand charge | 10 | (per kW·month) | Lighting | Idea | (unassigned)
Emission factor | 0.23 | (kg CO2e per kWh) | HVAC | To Evaluate | Anna
Months per year | 12 |  | Refrigeration | Approved | Miguel
Default hours/year | 2000 |  | Compressed Air | In Progress | Sven
|  |  | Motors/Drives | Done | Priya
|  |  | Process Heat/Steam | Parked
Doors/Envelope
Controls/Schedules
Office/IT
Other

## Converters
Quick Converters
(enter quantity and unit label)
Quantity | 0
Energy unit label | kWh | (kWh, MWh, MMBtu, kBtu, or therm)
kWh equivalent | 0
Power quantity | 0
Power unit label | kW | (kW, MW, or HP)
kW equivalent | 0

## Opportunities
ID | Area | Category | Finding | Proposed action | Baseline (kW) | Δ(kW) | Δ(kWh/yr) | Hours/yr | Load factor (0–1) | Demand saved (kW) | Capex (€) | Opex change (€/yr) | kWh saved/yr (base) | Energy € saved/yr | Demand € saved/yr | Total € saved/yr | CO2 saved (t CO2e) | CO2 € saved/yr | Payback (yrs) | Priority | Owner | Status | Due | Notes

## Summary
Energy Audit Tracker
Headline totals
Total energy saved (kWh) | 0
Total € saved/yr | 0
Total CO2 saved (t CO2e) | 0
CO2 € value/yr | 0
Savings by category (€)
Category | € saved/yr
Lighting | 0
HVAC | 0
Refrigeration | 0
Compressed Air | 0
Motors/Drives | 0
Process Heat/Steam | 0
Doors/Envelope | 0
Controls/Schedules | 0
Office/IT | 0
Other | 0
Top‑10 measures by € saved
Title | Value | Payback (yrs) | Cum %
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!
#NUM! | #NUM! | #NUM! | #NUM!