## HowToUse
Asset Maintenance Audit
Purpose
Check if each asset is getting the right maintenance approach (aligned to the book’s 10 strategies) and highlight mismatches.
Quick start
• You can safely leave all settings on the Config tab at their default values. They’re sensible starting points.
• Adjust weights/thresholds later if the results don’t feel right for your site.
Steps
1) Open Config: set As‑Of Date (manual), leave other defaults as-is for a first pass.
2) In Inputs_Assets: list assets and complete the columns. Use Yes/No dropdowns for the decision questions (mirrors the decision tree).
3) Pick the current Maintenance Approach (one of the 10). The sheet calculates a Recommended Approach from your answers.
4) Go to Outputs for a Top‑10 at‑risk list, RAG counts, matches vs. mismatches, and the approach mix.
5) Only if needed: tune weights/thresholds on Config and reassess.

## Config
Configuration |  | Notes
Period
As-of date (set manually) | 2025-10-17 | Used for PM on-time calculation.
Default lookback window (days) | 90 | Lookback window used for failures, downtime, and CM/PM counts.
Weights (sum may differ; normalized in formulas) |  | Defaults are sensible; adjust later if needed.
Approach Fit weight | 0.3 | How much to emphasize matching the decision-tree recommendation (current vs. recommended approach). Higher = penalize misalignment more.
Reliability weight | 0.35 | Failures & downtime in the lookback window. Higher = penalize poor reliability more.
Compliance weight | 0.2 | PM on-time + presence of standard tasks and AM/CIL.
Supportability weight | 0.15 | Spare coverage/parts readiness.
Tuning & thresholds
PM slack factor (× frequency) | 1.2 | Allowed tolerance on PM interval. Example: 1.20 = up to 20% overdue still counts “on-time”.
Downtime low (hrs/period) | 2 | If downtime ≤ this AND Failures ≤ “green” ⇒ Reliability = 5.
Downtime medium (hrs/period) | 8 | If downtime ≤ this AND Failures ≤ “amber” ⇒ Reliability = 4.
Failures green (≤ count) | 0 | Max failures in lookback to stay “green”.
Failures amber (≤ count) | 1 | Max failures to be “amber”; more becomes lower scores.
Maintenance Approaches (10) & Families
Approach | Family
Corrective Maintenance | Reactive
Preventive Maintenance | Schedule
Predetermined Maintenance | Schedule
Autonomous Maintenance | Operator
Condition-Based Maintenance | Condition
Predictive Maintenance | Condition
Prescriptive Maintenance | Condition
Reliability-Centered Maintenance | Framework
Risk-Based Maintenance | Framework
Remote Maintenance | Overlay
Similarity (score 4 pairs) |  |  | Dropdown lists
ApproachA | ApproachB | Score | YesNo
Preventive Maintenance | Predetermined Maintenance | 4 | Yes
Predetermined Maintenance | Preventive Maintenance | 4 | No
Condition-Based Maintenance | Predictive Maintenance | 4
Predictive Maintenance | Condition-Based Maintenance | 4 | SpareCoverage
Predictive Maintenance | Prescriptive Maintenance | 4 | Yes
Prescriptive Maintenance | Predictive Maintenance | 4 | Partial
Reliability-Centered Maintenance | Risk-Based Maintenance | 4 | No
Risk-Based Maintenance | Reliability-Centered Maintenance | 4
Autonomous Maintenance | Preventive Maintenance | 4 | SeverityList
Preventive Maintenance | Autonomous Maintenance | 4 | Low
Remote Maintenance | Predictive Maintenance | 4 | Medium
Predictive Maintenance | Remote Maintenance | 4 | High

## Inputs_Assets
Asset ID | Asset Name | Area/Line | Criticality (1–5) | Maintenance Approach (current) | PM Frequency (days) | Last PM Date | Failures (last period) | Downtime (hrs, last period) | CM WOs (last period) | PM WOs (last period) | Standard Tasks exist? | AM/CIL in place? | Spare Coverage | Environment Severity | Utilization (%) | Condition (1–5) | Notes / Opportunities | Risk critical? (safety/environment) | Real-time data available? | Downtime acceptable? | Downtime scheduled in advance? | Failures non-consequential? | Tasks simple routine (CIL)? | Remote feasible & preferred? | Data analysis possible on real-time data? | AI/ML can prescribe actions? | CM/PM Ratio | PM On-time? | Recommended Approach | Approach Fit (vs. reco) | Reliability (1–5) | Compliance (1–5) | Supportability (1–5) | Overall Fit (1–5) | RAG | Suggested Action
Internal code or tag | Common name on the floor | Area, line, or cell | 1=low, 5=high safety/quality/throughput impact | Pick one of the 10 | Planned days between routine PM (0 if none) | Date of last completed PM | Count in Lookback (Config) | Unplanned downtime hours in Lookback | Corrective maintenance WOs | Preventive maintenance WOs | Do standard PM task lists exist? (Yes/No) | Operators do Cleaning/Inspection/Lubrication? | Yes / Partial / No | Low / Medium / High | 0–1 average running time (e.g., 80%) | Observed/measured; 5 best | Free text | Safety/environmental criticality high? | Can you collect real-time condition data? | Can you take maintenance downtime? | Is that downtime planned via production? | Small impact if failure occurs? | Simple operator tasks? | Remote intervention practical? | Can you analyze the real-time data? | Advanced prescriptive capability? | Auto: CM WOs / PM WOs (blank if PM WOs=0) | Auto: uses Last PM vs. Frequency × Slack | Auto: from decision tree | 5 match; 4 near-neighbor; 3 same family; 2 other; 1 = critical asset on Corrective | Auto: failures & downtime vs. thresholds | Auto: PM on-time + standards/AM | Auto: spares coverage | Auto: weighted result | Auto: traffic light | Auto: next step
PCK-101 | Case Packer 1 | Line A | 4 | Preventive Maintenance | 30 | 2025-09-20 | 1 | 6 | 3 | 4 | Yes | Yes | Partial | Medium | 85% | 3 | Example row — delete before use | No | Yes | Yes | No | No | No | No | Yes | No | 0.75 | Yes | Predictive Maintenance | 2 | 4 | 5 | 3 | 3.45 | Amber | Align to: Predictive Maintenance
CMP-204 | Air Compressor 2 | Utilities | 5 | Condition-Based Maintenance | 15 | 2025-10-05 | 0 | 1 | 0 | 3 | Yes | No | Yes | High | 70% | 4 | Example row — delete before use | No | Yes | No | No | No | No | No | Yes | No | 0 | Yes | Reliability-Centered Maintenance | 2 | 5 | 4 | 5 | 3.9 | Amber | Align to: Reliability-Centered Maintenance
FLT-310 | Forklift 3 | Warehouse | 2 | Corrective Maintenance | 10 | 1899-12-31 | 1 | 1 | 2 | 0 | No | No | No | Low | 40% | 3 | Example row — delete before use | No | No | Yes | No | Yes | No | No | No | No |  | No | Corrective Maintenance | 5 | 4 | 1 | 1 | 3.25 | Amber | Restore PM compliance & standard tasks/AM

## Outputs
Asset Maintenance Audit - Summary
As-Of Date |  | 2025-10-17
Assets counted |  | 3
Average Overall Fit (max=5) |  | 3.5333
RAG counts (G/A/R)
Matches vs. Mismatches |  |  |  | Green | 0
Matches | 1 |  |  | Amber | 3
Mismatches | 2 |  |  | Red | 0
Top 10 at-risk assets (lowest Overall Fit)
Asset |  | Area/Line | Overall Fit | Suggested Action
FLT-310 |  | Warehouse | 3.25 | Restore PM compliance & standard tasks/AM
PCK-101 |  | Line A | 3.45 | Align to: Predictive Maintenance
CMP-204 |  | Utilities | 3.9 | Align to: Reliability-Centered Maintenance
Approach mix (current vs recommended)
Approach |  | Current (count) | Recommended
Corrective Maintenance |  | 1 | 1
Preventive Maintenance |  | 1 | 0
Predetermined Maintenance |  | 0 | 0
Autonomous Maintenance |  | 0 | 0
Condition-Based Maintenance |  | 1 | 0
Predictive Maintenance |  | 0 | 1
Prescriptive Maintenance |  | 0 | 0
Reliability-Centered Maintenance |  | 0 | 1
Risk-Based Maintenance |  | 0 | 0
Remote Maintenance |  | 0 | 0